CERN 2012 BSD Beam Test
Tyler Anderson

---
Notes
- CAL not yet gain normalized
- Don't have important conversion of PE/ncap
- CAL was triggered by upstream tracker, not actual CAL trigger
- For this analysis, used pion events with BSD centered on CAL and no BCD/TCD. There was another set of pion data where the BSD/TCD were in place (offset somewhat from main part of cal) and the BSD was offset from center.

---
Aside: “IsWithCal” is good proxy for choosing in-spill events
- Green is with cuts “IsWithCal”
- Plot feventno vs. fcurtime

---
Electron Cut on CAL
- Sasha says “electron beam is better than 75% pure”
- Require CALSum > 7000 to get only electrons
- Note: Turns out the 6 layers cut takes care of this automatically

---
Pion Cut on CAL
- Sasha says pion beam is ~95% pure
- Should we cut on showering events only?
  - Try with (showering) and without (everything) cut above to see difference
  - Choose CALSum > 2160 because:
    - It's a quick and dirty approximation to the CALtrigger condition (40 MeV x 6 Layers x 9 chan/MeV)
    - You're clearly starting to get past pedestal and into peak

---
Efrac for All Pions

---
Efrac for Showering Pions
Cuts 28% of pion events

---
Rejection Power vs. Electron Acceptance

---
Better CAL Trigger Cut
- >40 MeV in 6 consecutive layers instead of CALSum > 2160
- Cuts 54% of pion events and ~1% of electron events (relative to “everything”)

---
Rejection Power vs. Electron Acceptance

---
Same Analysis: 350 GeV Pions with BCD/TCD
- Wow! Really different.
- Strange second peak in Efrac pion distro messing things up. What is this?

---
Understanding Small Efrac Peak in Second Pion Run
- Second peak in pion data with BCD/TCD (hPi2) messes up Efrac distros
- Could be large CALSum, small BSDLatePE, or intermediate combination of both...

---
CALSum Comparison
Pretty similar

---
BSDLatePE Comparison
Somewhat different

---
Efrac vs. BSDLatePE
Pi2 has two distros in BSDLatePE around ~240 PE

---
Solution
Found that I needed to add a check that all fCHA[1] thru fCHA[10] were >= 0. That removed the pathological events which were messing things up there. Above is with Pi and Pi2 datasets

---
Solution (cont.)
Final rej vs accept plot for 150 GeV electrons and 350 GeV pions

---
All Cuts
- “IsWithCal”
  - CAL and BSD saw this event.
- “BSDLatePE > 0”
  - Sometimes you get saturating BSD events which wrap here
- “CALSum > 0”
  - Less than ped, clearly unphysical
- “fCHA[n] > 0” for n = 1 through 10
  - All PMTs participating in BSDLatePE sum see above pedestal events
- CALS sees > 40 MeV in 6 consecutive layers
  - This is flight version of CAL trigger

---
Comparison of Plot From Both Datasets + Combined
Combined datasets. Note that the final plot for this exercise is found in caltrig_cut

---
What now?
- Look at efficiency of cuts you're applying in both e and pi.
- Add error bars to everything you've done.
- Make presentation style plots.
- Look at other energies!
  - Let's do this next because a.) it's the most fun b.) it will help us map out what we want/need to do next a little bit better.

---
CAL Response With Particle Energy
- Note: 50 GeV electrons don't shower enough to meet the software”>40 MeV in 6 consecutive layers” cut. So this run doesn't make it into these plots.
- Note: I'm noticing that the 6 layer cut seems to exclude a lot of the corruption in the electron beams. Revisit this!

---
BSDLatePE Response With Particle Energy
Note: BSDLatePE for 150 GeV and 175 GeV electrons are quite similar...

---
CALSum and BSDLatePE for 75-175 GeV Electron and 250-350 GeV Pions
Voila!

---
Efrac For All Energies
Voila!

---
Rejection Power vs. Electron Acceptance
Voila!

---
CERN 2012 BSD Analysis Update
Tyler Anderson
December 12, 2012
BSD Group Meeting

---
Scope Electron Data
- Using PMT 1B, 150 GeV electron data
- Error bars calculated as quadrature sum from three contributions:
  - Error in center point approximation for derivative
  - Standard error of mean in peak determination
  - Standard error of mean in pedestal determination (small)
- 15 Pe between 900 ns to 4500 ns

---
Scope Pion Data
- Using PMT 1B, 350 GeV electron data
- Error bars calculated as quadrature sum from three contributions:
  - Error in center point approximation for derivative
  - Standard error of mean in peak determination
- 213 PE between 900 ns to 450 ns

---
Initial Quality Cuts for 2249W Data
- Note: Using pion and electron energy scan data from runs with BSD slightly offset and BCD + TCD in place
- IsWithCal
  - Cuts 64.7% of electrons, 67.1% of pions
  - Requires that both BSD and CAL saw event (matched by event number)
  - CDAQ has much more dead time (~20 ms) than CAMAC readout (~300 us), so this cuts a lot of data
- fCHA[n] > 0 for n = 1 to 10
  - Cuts 0.3% of remaining electrons, 24.2% of remaining pions
  - Mostly from saturated channels (2249W puts out a “1” when saturated, so pedestal subtracted values are less than 0).
  - Look at the 24.2% pions. This is large enough that it will affect Efrac distributions, since the cut is biased for large signal values.
- CALSum > 0
  - Cuts 0.4% of remaining electrons, 6.7% of remaining pions
  - Below pedestal events caused by width of CAL pedestal
  - Note that the next cut would clean these up anyway, so this cut is likely unnecessary.
- >40 MeV in 6 consecutive CAL layers
  - Cuts 9.4% of remaining electrons, 55.7% of remaining pions
  - Use approximate conversion 9 chan = 1 MeV (from S. Nutter) as rough conversion. This needs to be redone when CAL is gain calibrated.
  - Look at efficiency of this cut with energy
- Out of 91174 electron events, 28991 remain
- Out of 65748 pion events, 6768 remain

---
IsWithCal for In Spill Events
- Choosing “IsWithCal” is a good proxy for in spill events.
  - Black: All events in a particular run
  - Green: Events with “IsWithCal” flag
- Makes sense since this is the time window when the BSD and upstream scintillator counter triggers are well correlated.

---
fCHA[n] < 0
- The 2249W puts out a number much less than pedestal (typically “1”) when it saturates
- The fCHA branch is already pedestal subtracted, so these saturated values will show up as a large negative spike in channel histograms
- These saturated events are significant (especially for pions) because:
  - They represent large PE signals
  - They are much common for pions (because of larger pion signal) than electrons
- Hence, missing these events will through off Efrac significantly

---
Looking at fCHA[n] < 0 Events
- 96.3% have fCHA[4] saturated.
- 99.1% have either fCHA[4] or fCHA[9] saturated.

---
Saturated Event Solution
- Solution: If a channel is saturated, give it max value, 2048 channels. This is a good approximation, though it under estimates the signal sum a little bit
- All events with saturation (histogram above) then end up outside the electron Efrac range (Efrac < 0.1 in detector units). Thus, the slightly under estimated signal sum doesn't really matter in the end

---
Effect of “Six Consecutive Layer >40MeV” Cut on CALSum
- Note that the 6 layer cut removes much more of the low energy events than the high energy events
- For analysis, must weight with equal amounts of all energies AFTER 6 layer cut
- Note: Electron beam is only ~75% pure, but this cut removes most of the impurities. Pion beam is ~95% pure

---
Effect of “Six Consecutive Layer >40MeV” Cut on myBSDLatePE
- Note that the 6 layer cut removes much more of the low energy events than the high energy events
- For analysis, must weight with equal amounts of all energies AFTER 6 layer cut

---
Revised Data Cuts and Conditioning
- IsWithCal
  - Cuts 64.7% of electrons, 64.1% of pions
- Set any fCHA[n] < 0 for n = 1 to 10 to 2048 channels. Use myBSDLatePE as gain converted PE sum of these.
  - Effects 0.3% of remaining electrons, 24.2% of remaining pions
- Require >40 MeV in 6 consecutive CAL layers
  - Cuts 9.9% of remaining electrons, 56.9% of remaining pions
- Out of 91174 electron events, 29029 remain
- Out of 65748 electron events, 9321 remain

---
Now what?
- Cuts and data conditioning measures have been outlined/verified
- Would like to make plots which are:
  - 1.) physically meaningful
  - 2.) can be compared with MC simulation data
- Choose to do analysis of CALSum, myBSDLatePE, Efrac, and rejection power vs. electron acceptance for 75 GeV-175 GeV electron energies and 250 GeV-350 GeV pion energies.
- Not all energy runs have the same amount of data, so we “mix” for equal fractions of all energies AFTER cuts and conditioning!

---
CAL Response With Particle Energy
- Note: Histograms are scaled to similar heights by total number of events
- Note: 50 GeV electrons don't shower enough to meet the software”>40 MeV in 6 consecutive layers” cut. So they aren't included in these plots even though we have data for them.

---
BSDLatePE Response With Particle Energy
- Note: Histograms are scaled to similar height by total number of events
- Note: BSDLatePE for 150 GeV and 175 GeV electrons are quite similar...

---
CALSum and BSDLatePE for 75-175 GeV Electron and 250-350 GeV Pions
Events have been selected from energy runs such that all are weighted equally

---
Efrac For All Energies

---
Rejection Power vs. Electron Acceptance
Voila!

---
Rejection Power vs. Electron Acceptance
Note: Needs error bars! Work in progress!

---
Rejection Power vs. Electron Acceptance
- 150 GeV electrons and 350 GeV pions
- Data from two different configurations:
  - BSD centered directly on center of CAL, no BCD/TCD
  - BSD offset somewhat, BCD/TCD in place
- Why so different?
  - The above was generated with “initial” cuts. Improved cuts may help (or hurt)?
  - Different configuration. Maybe geometry makes a difference?
- Plot needs error bars and needs to be re-run with improved cuts/data conditioning. Still a work in progress!

---
Closing Comments
- Still some work in progress
- Most of the analysis issues/plots can be addressed fairly easily now.
- Need MC runs matching the event run conditions we got.
- I'm taking suggestions on other plots/analysis tasks that can/should be tried out.